Emergency Maintenance

During office hours please call –Property Direct 0437857079

Plumbing:

No hot water: have you check the power is on at the hot water system/fuse box, if yes and both are on call ASAP. Is your hot water system gas: if yes do you have gas.

No Water: is the mains turned on outside (located at the front of the property), have you checked for outages in your area – a search on the local council website will usually advise of any outages.

Burst Pipe: turn water off at the mains and contact ASAP.

After hours ONLY plumber please call

Shark Plumbing – 1300247666

Goanna Plumbing - 0425433123

Electrical:

No Power: Is there an outage in the area – has the generator turned on if not refer to the generator instructions. Have you checked the fuses are all turned on.

Stove/Oven: not working – have you checked that all the fuses are turned on, is the power switch in the kitchen turned on.

After Hours ONLY Electrician Please Call

Enlighten Electrical - 0413295107

Please note that the electrical fuse box is located in the garage.

Air conditioner not working is not considered an emergency.

Fire – call 000

Roof Leak – call SES 132500

All other repairs are not an emergency, please report all maintenance through the Property Me Portal.