Generator How to Guide

Generator Control Panel

Key Switch

Key Off

Key On

Power Stop

Auto start

Power start

Emergency Stop

Instructions for Use

- Insert Key into the key switch and turn to the on position.

- Press the Auto start button, you should see a green light

- When you lose power, the generator should automatically start.

- To Test if the generator is working, Turn the power off in the mains board on the side of the house Wait 60 seconds and the generator will start.

- The generator will turn off automatically when the power turns back on.

- If the generator hasn’t stopped after 60 seconds you can press the Power stop button.

- If the generator is not working, please refer to the trouble shooting guide attached.

- Ensure ONLY diesel is used in the generator.